## Read me
Ohmbid electrical estimate template
Free to use and change. From ohmbid.com, September 2026.
How it works
1. Takeoff: type the device counts per room from your plans. Yellow cells are yours to fill.
2. Assemblies: each device type has its parts, wire allowance and labor hours. Edit any line.
3. Prices: your supply house prices with the date each one came in. Anything older than the cutoff in Summary is flagged.
4. Summary: material, labor at your rate, permit, overhead and profit, and the bid. Nothing to type here except your rate and markup.
Labor hours are starter values for residential Romex work, set under NECA's commercial units. Adjust them once to match your crew.
Sample prices are examples only. Replace them with your supplier's sheet.
What the spreadsheet can't do: count the plans for you, keep prices fresh, or send a proposal the customer signs. That's what the app does: ohmbid.com

## Summary
Bid summary
Job | 3 bed ranch, 14 Birch Lane (example)
Labor rate, $/hr | 95
Overhead and profit, % | 22%
Price cutoff, days | 30
Permit and misc, $ | 450
Assembly | Count | Material each | Material | Labor hr each | Labor hr
Duplex receptacle, 20A
GFCI receptacle, 20A
Single-pole switch
3-way switch
6 in LED wafer light
Ceiling fan box and fixture wiring
Smoke / CO detector, interconnected
Bath exhaust fan
Range circuit, 50A
Dryer circuit, 30A
20A home run
200A service, 40 space
Material
Labor hours
Labor
Permit and misc
Subtotal
Overhead and profit
BID
Prices older than the cutoff

## Assemblies
Assembly | Part | Qty | Unit | Unit cost | Line cost | Rough-in hr | Trim hr | Labor hr | Assembly | Material | Labor hr
Duplex receptacle, 20A | 1-gang new work box, 20 cu in | 1 | ea |  |  | 0.25 | 0.15 |  | Duplex receptacle, 20A
| 20A duplex receptacle, TR | 1 | ea | [5 empty] | GFCI receptacle, 20A
| Nylon wall plate, 1-gang | 1 | ea | [5 empty] | Single-pole switch
| 12-2 NM-B cable | 25 | ft | [5 empty] | 3-way switch
| Wire connectors | 3 | ea | [5 empty] | 6 in LED wafer light
| Cable staples | 4 | ea | [5 empty] | Ceiling fan box and fixture wiring
GFCI receptacle, 20A | 1-gang new work box, 20 cu in | 1 | ea |  |  | 0.3 | 0.2 |  | Smoke / CO detector, interconnected
| 20A GFCI receptacle, TR | 1 | ea | [5 empty] | Bath exhaust fan
| Nylon wall plate, 1-gang | 1 | ea | [5 empty] | Range circuit, 50A
| 12-2 NM-B cable | 25 | ft | [5 empty] | Dryer circuit, 30A
| Wire connectors | 3 | ea | [5 empty] | 20A home run
| Cable staples | 4 | ea | [5 empty] | 200A service, 40 space
Single-pole switch | 1-gang new work box, 20 cu in | 1 | ea |  |  | 0.2 | 0.15
| Single-pole switch, 15A | 1 | ea
| Nylon wall plate, 1-gang | 1 | ea
| 14-2 NM-B cable | 20 | ft
| Wire connectors | 2 | ea
| Cable staples | 3 | ea
3-way switch | 1-gang new work box, 20 cu in | 1 | ea |  |  | 0.3 | 0.2
| 3-way switch, 15A | 1 | ea
| Nylon wall plate, 1-gang | 1 | ea
| 14-3 NM-B cable | 25 | ft
| Wire connectors | 3 | ea
| Cable staples | 4 | ea
6 in LED wafer light | 6 in LED wafer light, 3000K, with box | 1 | ea |  |  | 0.35 | 0.25
| 14-2 NM-B cable | 18 | ft
| Wire connectors | 2 | ea
| Cable staples | 3 | ea
Ceiling fan box and fixture wiring | Fan-rated ceiling box | 1 | ea |  |  | 0.4 | 0.3
| 14-3 NM-B cable | 25 | ft
| Wire connectors | 4 | ea
| Cable staples | 4 | ea
Smoke / CO detector, interconnected | Smoke/CO detector, hardwired, battery backup | 1 | ea |  |  | 0.35 | 0.2
| 4 in round box | 1 | ea
| 14-3 NM-B cable | 30 | ft
| Wire connectors | 3 | ea
| Cable staples | 4 | ea
Bath exhaust fan | Bath exhaust fan, 80 CFM | 1 | ea |  |  | 0.5 | 0.4
| 14-2 NM-B cable | 25 | ft
| 4 in duct and cap | 1 | ea
| Wire connectors | 2 | ea
Range circuit, 50A | 50A range receptacle and box | 1 | ea |  |  | 1.2 | 0.4
| 6-3 NM-B cable | 40 | ft
| 50A 2-pole breaker | 1 | ea
| Cable staples | 6 | ea
Dryer circuit, 30A | 30A dryer receptacle and box | 1 | ea |  |  | 1 | 0.4
| 10-3 NM-B cable | 35 | ft
| 30A 2-pole breaker | 1 | ea
| Cable staples | 5 | ea
20A home run | 12-2 NM-B cable | 60 | ft |  |  | 0.6 | 0.1
| 20A AFCI breaker | 1 | ea
| Cable staples | 8 | ea
200A service, 40 space | 200A panel, 40 space | 1 | ea |  |  | 6 | 3
| 200A meter base | 1 | ea
| 4/0 SER cable | 15 | ft
| Ground rods, 8 ft | 2 | ea
| #4 bare copper | 30 | ft
| Weatherhead and mast kit | 1 | ea

## Prices
Item | Unit | Your price | Date | Days old | Status
1-gang new work box, 20 cu in | ea | 0.62 | 2026-09-28
20A duplex receptacle, TR | ea | 2.48 | 2026-09-28
20A GFCI receptacle, TR | ea | 18.9 | 2026-09-28
Nylon wall plate, 1-gang | ea | 0.42 | 2026-08-05
12-2 NM-B cable | ft | 0.55 | 2026-09-28
14-2 NM-B cable | ft | 0.47 | 2026-09-28
14-3 NM-B cable | ft | 0.72 | 2026-09-28
6-3 NM-B cable | ft | 3.1 | 2026-09-28
10-3 NM-B cable | ft | 1.85 | 2026-08-05
Wire connectors | ea | 0.08 | 2026-09-28
Cable staples | ea | 0.02 | 2026-09-28
Single-pole switch, 15A | ea | 1.35 | 2026-09-28
3-way switch, 15A | ea | 2.6 | 2026-09-28
6 in LED wafer light, 3000K, with box | ea | 14.2 | 2026-08-05
Fan-rated ceiling box | ea | 9.8 | 2026-09-28
Smoke/CO detector, hardwired, battery backup | ea | 38 | 2026-09-28
4 in round box | ea | 1.1 | 2026-09-28
Bath exhaust fan, 80 CFM | ea | 64 | 2026-09-28
4 in duct and cap | ea | 22 | 2026-08-05
50A range receptacle and box | ea | 16.5 | 2026-09-28
50A 2-pole breaker | ea | 24 | 2026-09-28
30A dryer receptacle and box | ea | 14 | 2026-09-28
30A 2-pole breaker | ea | 19 | 2026-09-28
20A AFCI breaker | ea | 42 | 2026-08-05
200A panel, 40 space | ea | 312 | 2026-09-28
200A meter base | ea | 95 | 2026-09-28
4/0 SER cable | ft | 6.4 | 2026-09-28
Ground rods, 8 ft | ea | 18 | 2026-09-28
#4 bare copper | ft | 1.95 | 2026-08-05
Weatherhead and mast kit | ea | 58 | 2026-09-28
Formulas:
Days old = IF([Date]="","",TODAY()-[Date])

## Takeoff
Room | Duplex receptacle, 20A | GFCI receptacle, 20A | Single-pole switch | 3-way switch | 6 in LED wafer light | Ceiling fan box and fixture wiring | Smoke / CO detector, interconnected | Bath exhaust fan | Range circuit, 50A | Dryer circuit, 30A | 20A home run | 200A service, 40 space
Living | 4 | 0 | 2 | 2 | 6 | 1 | 1 | 0 | 0 | 0 | 0 | 0
Kitchen | 2 | 4 | 2 | 0 | 6 | 0 | 0 | 0 | 1 | 0 | 0 | 0
Dining | 2 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
Bedroom 1 | 4 | 0 | 1 | 1 | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 0
Bedroom 2 | 3 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0
Bedroom 3 | 3 | 0 | 1 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0
Bath 1 | 0 | 1 | 2 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0
Bath 2 | 0 | 1 | 2 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0
Hall | 1 | 0 | 0 | 2 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Garage | 2 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Laundry | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0
Exterior | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 14 | 1
Total